# PHYSIOLOGY LABORATORY ACCREDITATION SURVEY REPORT FORM

When completed, please return this form to the BASES, GO7 and G08, Fairfax Hall, Leeds Beckett University, Headingley Campus, Leeds, LS6 3QT or officemanager@bases.org.uk

Laboratory Director should complete Section 1 only.

| Section 1: General Information |
| --- |
| Institution: |  |
| Nominated director: |  |
| Support staff: |  |
| Accreditor: |  |
| Overview of Laboratory Activities: |

| Section 2: Resources and Laboratory Environment |
| --- |
| Main Laboratory area – general notes Flooring Carpets? Bench Surfaces |  |
| Monitoring | Temp |  | Baro Press |  | Rel. Humid |  |
| Ventilation adequate? | Fans available? |
| Safe storage of gas cylinders |  |
| Blood analysis area (tick box if disposal OK) |  |  |
| Staff blood and phlebotomy training |  |
| Sharps disposal |  |
| Contaminated waste disposal |  |
| Sterilisation of mouthpieces etc. |  |
| COSHH, risk assessment, informed consent |  |
| Accident & incident procedures |  |
| Telephone line |  |
| First aid qualifications of staff |  |
| Immunisation |  |
| Defibrillator and evidence of training |  |
| Data analysis area – general notes |  |
| Security and confidentiality |  |
| Feedback area |  |
| Computer provision |  |

| Section 3: Equipment |
| --- |
| Instruments | Equipment Available | Working OK ? | * Supporting Documentation |
| 1. | Anthropometry: |  |  |  |
| 2. | Blood (other than lactate): |  |  |  |
| 3. | Heart rhythm: |  |  |  |
| 4. | Respiratory gas exchange: |  |  |  |
| 5. | Cycle ergometry: |  |  |  |
| 6. | Sport-specific test equipment: |  |  |  |
| 7. | Lactate analyser: |  |  |  |
| 8. | Other laboratory instruments: |  |  |  |

NB: items 1, 3, 4 and 7 are minimum requirements for accreditation

* Refers to supporting documents to demonstrate servicing, validity and reliability, where appropriate.

Section 4: Operational Proficiency [Subsections 1 and 2 below relate to the demonstration of an exercise test treadmill test.] This should include a period of steady-state exercise of 10 minutes duration BELOW the exerciser’s estimated “lactate threshold” or 1st abrupt upward change in slope. Where relevant, oxygen consumption, respiratory gas exchange and blood lactate should be measured at 5-6 minutes and 9-10 minutes. Subsequently, the exerciser should complete another stages, each of four minutes duration, at progressively higher intensities which span his or her estimated “lactate turnpoint” or 2nd abrupt upward change in slope. Again, gas exchange and blood lactate should be measured towards the end of each stage.]

Gas exchange measurement (submax demonstration, max records)  Satisfactory  Modification needed (see below)  Unsatisfactory Comments: ………………………………………………………………………………………………………..………………………………………………………………………………………………………...................... ………………………………………………………………………………………………………..………………………………………………………………………………………………………..................... VO2 RER, data attached.  Repeatability   Validity  

Blood lactate measurement (where relevant)  Satisfactory   Modification needed (see below)   Unsatisfactory Comments: ………………………………………………………………………………………………………..…………………………………………………………………………………………………….…..................... ………………………………………………………………………………………………………..………………………………………………………………………………………………………..................... Lactate values attached.   Repeatability   Validity  

Demonstration of a different exercise test or procedure for those laboratories not able to carry out the tests highlighted above   Satisfactory   Modification needed (see below)   Unsatisfactory Comments: ………………………………………………………………………………………………………..…………………………………………………………………………………………………….…..................... ………………………………………………………………………………………………………..………………………………………………………………………………………………………......................

Section 4: Operational proficiency (continued)

Additional or other performance tests or instruments (where relevant) Please state tests e.g. strength, flexibility, body composition, specialist ergometry, other equipment: …………………………………………………………………………………………….….….…….…….………………………………………………………………………………..…….…….…………….….…………………………………………………………………..…..……………...................................   Satisfactory   Modification needed (see below)   Unsatisfactory Comments: …………………………………………………………………………………………….….….…….…….………………………………………………………………………………..…….…….…………….……………………………………………………………………..…..……………………….…………………………………………………………..…………..…………………………….……………………

Data presentation and Interpretation Layout of recording sheets - appropriate information recorded and disseminated  Satisfactory   Modification needed (see below)   Unsatisfactory Feedback (records; philosophy and knowledge, primarily for support accreditation)  Satisfactory   Modification needed (see below)   Unsatisfactory Comments: ……………………………………………………………………………………………….…….……………………………………………………………………………………………………....................... ……………………………………………………………………………………………….…….…………………………………………………………………………………………………….......................

Section 5: General Comments

Overall impression relating to recommendations

Any other comments:

Section 6: Recommendations

Accreditation Recommended For ?*  YES   NO …………………………………………………………………………………………………..…………………………………………………………………………………………………..…………………… To assess: Aerobic performance?  YES  NO Maximal or high intensity exercise?  YES  NO **………………………….  YES  NO **………………………….  YES  NO **………………………….  YES  NO * Indicate function(s), e.g. treadmill ergometry, cycle ergometry etc. ** Any other activities or performance measures, e.g. speed, endurance, etc. Signed: ……………………………………..……………………. ..........................(Accreditor)